| Discipline | Modern methods and models of analysis of regime reliability power systems |
| --- | --- |
| Level of higher education | Third (Doctor of Philosophy) |
| Course | 2nd year |
| Amount | 3 ECTS credits |
| Language of instruction | Ukrainian |
| Chair | Renewable energy sources |
| Requirements for the beginning study | Knowledge of the theory of electromagnetic transients and electromechanical processes in the power system, calculation of steady-state modes, basics of operation and modes of operation of the electrical part of stations and substations, control of power plants and systems, theory of electrical { {1}} machines, theories of reliability of electric power systems, basics of relay protection and automation of power systems. Intelligent methods for assessing the technical condition of electrical equipment. |
| What will be studied | The main provisions and wording of reliability indicators in electricity. Factors reducing the reliability of modern power systems. Influence liberalization in the power industry on the reliability of power systems. Technical condition and operating conditions of electrical equipment of modern power plants with power plants of different types. Features of functioning and tasks ensuring the reliability and safety of NPPs in case of equipment failures Cascade development of emergency processes in the power system. Characteristic scenarios of cascade accidents in the world power industry. Economic mechanisms to ensure the reliability and survivability of the power system. Characteristic problems of ensuring the balance reliability of the power system. Indexes balance reliability of the power system Tasks of ensuring the regime reliability of the power system. Static mode reliability taking into account the development of failures. Evaluation and static mode reliability control. Dynamic mode reliability taking into account the development of accidents. Operating modes of EES at electrical equipment failures. Analysis of UES regime reliability methods of risk theory Methods and models of operational evaluation risk of electric power facilities. Prioritization decommissioning of EES electrical equipment. Decision making in risk conditions. Probabilistic-statistical methods of regime estimation reliability of EES. Quantitative indicators of the risk of abnormalities mode in case of electrical equipment failures Failure risk assessment electrical equipment under the influence of disturbances in the external electrical network. Modeling and risk assessment of the power supply system failure NPPs from external energy sources. |
| Why that interesting / necessary study | Liberalization of the power industry, and an increase in the world in recent times decades of major system failures exacerbate the problem ensuring the reliability of the power system with power plants of different types; it requires students to master the principles and methods of construction models of electrical equipment failures, simulation methodology study of regime reliability, analysis and risk management in the EEC, methods of making preventive decisions to reduce operational risks in the EEC. |
| Why is it possible to learn (results teaching) | select and develop new models for determining the probability of failure electrical equipment using modern IT- technologies, to study emergency regimes and to quantify indicators of risk of violation of the normal regime in case of failures and decommissioning of electrical equipment, to develop preventive measures to minimize the risk of operation of electrical equipment and complex EES. |
| As you can use acquired knowledge and skills (competencies) | ▪ apply the basic provisions of systems theory for analysis processes in the power system with power plants of different types; ▪ use modern information technologies for development models for assessing the risk of failure of electricity facilities; ▪ apply the principles and methods of simulation for research of emergency modes of EES at failures electrical equipment; ▪ perform calculations and analysis of electromechanical transients processes in the UES with the NPP; assess the risk of system failure power supply to NPPs. ▪ evaluate the regime reliability of EES subsystems on the basis of probabilistic and statistical determination of risk indicators occurrence of an emergency situation; ▪ make optimal decisions to minimize risk occurrence of emergency situations in the subsystems of the power system on the basis of risk-oriented approach. |
| Information software | Curriculum and working programs of the discipline, RSO, educational and methodical materials (lecture notes, computer workshops), methodical instructions for performing calculation and graphic work, computer workshops |
| Form of holding to occupy | computer workshops, performance of modular control work, calculation and graphic work |
| Semester control | Offset. |